## Slide 1: Nolan W. Lloyd, Chief Well Inspector Divison of Water Resources

## Slide 2: Gallery Type Well

## Slide 3: Air Rotary

## Slide 5: Mud Rotary with Portable Pit

## Slide 6: Mud Rotary with dug pit

## Slide 7: Rotary Drill Tools

## Slide 8: Tricone / Roller Bit

## Slide 9: Drag Bit

## Slide 10: Welding Steel Casing

## Slide 12: Stainless Steel Well Screen

## Slide 13: PVC Screen

## Slide 14: Hand Cut

## Slide 15: Torch Cut

## Slide 16: Pitless Adapter

## Slide 17: Completed Well / Pitless Installation

## Slide 18
Domestic Well Completion

## Slide 21
One ounce of dry HTH or equal powder (70 % available Chlorine) dissolved in 52.2 gallons of water makes a 100 ppm strength disinfectant solution. One cup of liquid household bleach (5% available chlorine) mixed into 31.2 gallons of water makes a 100 ppm strength disinfectant solution. Various proportions can be calculated using the following approximate quantities: Approximate amount of dry powder or liquid bleach required for a 100 ppm chlorine solution |  |  | 
Diameter of water column (inches) | Volume of water in 100 feet of column (gallons) | Cups of dry powder 1) | Cups of liquid bleach 2)
4 | 65.5 | ¼ | 3
6 | 147 | ½ | 5
8 | 261 | ¾ | 9
10 | 408 | 1 | 14
12 | 587 | 1 ½ | 19